## Database
EV Charger database
2019-06-01
Tag | P2 | P3 | P4 | H1 |  | H2 | H4 | H5 | H6 | H7 | H8 | H9 | H11 | H14 | H15 | H16 | H17 | H18 | H19 | H20 | H21 |  | S1 | S2 | S3 | S4 | S5 | F1 | F2 | F3 |  |  |  | F4 | F5 | F6 | F7 | F8 | F8 | F9 | G1 | G3 |  | G5 | G6 | G7 |  | G8 | G9 |  |  | G12 | G11
|  |  |  | HARDWARE | [18 empty] | SOFTWARE |  |  |  |  | FEATURES | [12 empty] | GENERAL
S.No | Model name | Manufacturer (Hardware) | Platform (Software) provider | Mode | Charging level | H2: Ampere rating; H4: Phase; H5: Charger socket type; H6: Charger outlet type; H8: Application type; H9: Weather protection; H11: Cable; H14: Weight & dimensions; H18: Network communication interfaces | Smart Filter | Platform name | Application messaging protocols |  |  | Security | Base features |  |  |  |  | Other safety | Demand control features | [6 empty] | Country of Manufactuure | NZ Supplier / distributor | Plug type |  | Pricing | [5 empty] | Other comments | Picture | Source links
[5 empty] | kW | Charger rating (A) |  |  | Type 1 | Type 2 |  | IP rating | Length of cable | Weight | Length | Width | Thickness | Wifi | Cellular (GSM only) | Ethernet | Other (Zigbee, CDMA, Bluetooth, GPS) |  |  | OCPP | OpenADR | Other | Access | LED Indicator | Screen | Phone app | Web portal | Energy metering | Temp Sensor | Manual timer | Automated timer | Automated home load control | Utility / 3P load control | Value added control (Solar, algorithim) | Load sharing | Capabilities |  |  |  | International standard | Currency | Hardware cost' | Delivered cost HW NZ (NZD) (including cable) | Software (one off ) | Software (Ongoing) | Warranty
|  |  |  | Mode 1 / 2 / 3 | Max output | Charger rating | 1 phase / 3 phase | Type 1 / 2 | Y / N | Y / N | Socket - outlet / AC Supply wiring | IP 01 - 69K | Meters | kg | mm | mm | mm | Y / N | Y / N | Y / N |  |  |  | OCPP / OCPP 2.0 / NA | Y / N | Y / N | Y / N | Y / N | Y / N | Y / N |  | Y / N | Y / N | Y / N | Y / N | Y / N | Y / N |  |  | V1G / Other
1 | EV Power 8A Typ 1 | 3rd party in China | NA | Mode 1 | 2.2 | 8 | 1 Phase | NA | Y | N | Plug type | IP 66 | 6.5 | NA | NA | NA | NA | N | N | N | N |  | NA | NA | NA | NA |  | Y | Y | N |  |  | N | N | N | N | N | N |  |  | China | OEM Audio, Chargesmart | NZ plug available | IEC 62752-2016 | NZD | 599 | 599 |  |  | 2 years | a) TUV Certification |  | https://www.oemaudio.co.nz/Product-Detail.aspx?ComId=f8cf4899-5943-456b-8c4c-9dfcb4532767
2 | EV Power 8A Typ 2 | 3rd party in China | NA | Mode 1 | 2.2 | 8 | 1 Phase | NA | N | Y | Plug type | IP 66 | 6.5 | NA | NA | NA | NA | N | N | N | N |  | NA | NA | NA | NA |  | Y | Y | N |  |  | N | N | N | N | N | N |  |  | China | OEM Audio, Chargesmart | NZ plug available | IEC 62752-2016 | NZD | 599 | 599 |  |  | 2 years | a) TUV Certification |  | https://www.oemaudio.co.nz/Product-Detail.aspx?ComId=ec3e5e9e-1c71-4076-8197-dacb64651493
3 | EV Power 8A Typ 1 | 3rd party in China | NA | Mode 1 | 3.7 | 16 | 1 Phase | NA | Y | N | Plug type | IP 66 | 6.8 | NA | NA | NA | NA | N | N | N | N |  | NA | NA | NA | NA |  | Y | Y | N |  |  | N | N | N | N | N | N |  |  | China | OEM Audio | NZ plug available | IEC 62752-2017 | NZD | 699 | 699 |  |  | 2 years | a) TUV Certification |  | https://www.oemaudio.co.nz/Product-Detail.aspx?ComId=d69e4761-ed71-436b-9b8b-48e1d617c1b7
4 | EV Power 8A Typ 2 | 3rd party in China | NA | Mode 1 | 3.7 | 16 | 1 Phase | NA | N | Y | Plug type | IP 66 | 6.8 | NA | NA | NA | NA | N | N | N | N |  | NA | NA | NA | NA |  | Y | Y | N |  |  | N | N | N | N | N | N |  |  | China | OEM Audio | NZ plug available | IEC 62752-2018 | NZD | 699 | 699 |  |  | 2 years | a) TUV Certification |  | https://www.oemaudio.co.nz/Product-Detail.aspx?ComId=87d00d6f-448b-481c-96a6-1489273b6ee3
5 | EV Wallbox 32 | 3rd party in China | NA | Mode 2 | 3.6 / 7.2 | 16 / 32 | 3 Phase optional | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP 67 | Not incl in price | 5 | 295 | 195 | 70 | N | N | N | N |  | NA | NA | NA | NA | RFID Optional | Y | Y | N | [10 empty] | China | OEM Audio | Wall mount | IEC 61851-1 | NZD | 1199 | 1549 |  |  |  | a) TUV certification b) 5m cable NZD 270 c) 2x RFID TAG NZD 50
6 | Evbox Elvi 3.7 kW |  |  | Mode 3 | 3.7 | 16 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP55 | 4 | 6 | 186 | 328 | 219 | Y | N | N | BT, GPS | Y |  | OCPP 1.6 |  |  | RFID, Keyfob, Card Optional | Y | N | Y |  | Y |  |  | Y |  |  | Optional |  |  |  | Chargemaster , Chargesmart | Wall mount | IEC 61851-1 | NZD | 1699 | 1699 |  |  |  | a) Upgrade from 4m to 8 m cable NZD 200 b) Mentions requirement of additional upstream circuit breaker and RCD as required by worksafe |  | https://www.chargemaster.co.nz/collections/evbox-charging-solutions-modular-smart-future-proof/products/elvi-3-7kw-home-charger-with-your-choice-of-a-4m-or-8m-type-2-cable
7 | Evbox Elvi 7.4 kW |  |  | Mode 3 | 7.4 | 32 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP55 | 4 | 6 | 186 | 328 | 219 | Y | N | N | BT, GPS | Y |  | OCPP 1.6 |  |  | RFID, Keyfob, Card Optional | Y | N | Y |  | Y |  |  | Y |  |  | Optional |  |  |  | Chargemaster , Chargesmart | Wall mount | IEC 61851-1 | NZD | 1799 | 1799 |  |  |  | a) Upgrade from 4m to 8 m cable NZD 200 b) Mentions requirement of additional upstream circuit breaker and RCD as required by worksafe |  | https://www.chargemaster.co.nz/collections/evbox-charging-solutions-modular-smart-future-proof/products/elvi-7-4kw-home-charger-with-your-choice-of-a-type-1-or-type-2-cable
8 | Evbox Elvi 11 kW |  |  | Mode 3 | 11 | 32 | 3 Phase | Type 2 | N | Y | AC supply wiring | IP55 | 4 | 11 | 186 | 328 | 219 | Y | N | N | BT, GPS | Y |  | OCPP 1.6 |  |  | RFID, Keyfob, Card Optional | Y | N | Y |  | Y |  |  | Y |  |  | Optional |  |  |  | Chargemaster , Chargesmart | Wall mount | IEC 61851-1 | NZD | 1999 | 1999 |  |  |  | a) Upgrade from 4m to 8 m cable NZD 200 b) Mentions requirement of additional upstream circuit breaker and RCD as required by worksafe |  | https://www.chargemaster.co.nz/collections/evbox-charging-solutions-modular-smart-future-proof/products/copy-of-elvi-11kw-home-charger-with-your-choice-of-a-type-1-or-type-2-cable
9 | Evbox Elvi 22 kW |  |  | Mode 3 | 11 | 32 | 3 Phase | Type 2 | N | Y | AC supply wiring | IP55 | 4 | 11 | 186 | 328 | 219 | Y | N | N | BT, GPS | Y |  | OCPP 1.6 |  |  | RFID, Keyfob, Card Optional | Y | N | Y |  | Y |  |  | Y |  |  | Optional |  |  |  | Chargemaster , Chargesmart | Wall mount | IEC 61851-1 | NZD | 2199 | 2199 |  |  |  | a) Upgrade from 4m to 8 m cable NZD 200 b) Mentions requirement of additional upstream circuit breaker and RCD as required by worksafe |  | https://www.chargemaster.co.nz/collections/evbox-charging-solutions-modular-smart-future-proof/products/copy-of-elvi-22kw-home-charger-with-type-2-4m-cable?variant=8163375644708
10 | Keba E-series EV charging station 4.6 kW Wallbox | Keba |  | Mode 3 | 4.6 | `10 / 20 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price | 4.1 | 279 | 102 | 76 | N | N | Y | USB (mainly for updates) | [6 empty] | Y | N | N | N | N |  | Y | N | N | N | N | N |  | Austria | Chargemaster , Chargesmart |  | IEC61851-1 | NZD | 2299 | 2649 |  |  | 2 years | a) Cable not included (2686 with type 2 4 m cable) b) mentioned as 240 volts c) Separate RCD required d) Inbuilt DC fault sensor |  | https://www.chargemaster.co.nz/collections/keba/products/keba-ev-charging-station-4-6kw-wallbox
11 | Keba B-series EV charging station 11 kW Wallbox | Keba |  | Mode 3 | 11 | `10 / 32 | 3 Phase optional | Type 2 | Y (Optional) | Y | AC supply wiring | IP54 | 4 | 4.8 | 495 | 240 | 163 | N | N | Y | Optional Greenphy | [5 empty] | RFID, Keyfob Optional | Y | N | N | N | N | Y | Y | N | N | N | N | N |  | Austria | Chargemaster , Chargesmart |  | IEC61851-1 | NZD | 2999 | 2999 |  |  |  | a) With type 2 cable (removable) b) mentioned as 240 volts c) Separate RCD required d) Inbuilt DC fault sensor
12 | Keba B-series EV charging station 22 kW Wallbox | Keba |  | Mode 3 | 22 | 32 | 3 Phase optional | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price | 4.8 | 495 | 240 | 163 | N | N | Y | Optional Greenphy | [5 empty] | RFID, Keyfob Optional | Y | N | N | N | N | Y | Y | N | N | N | N | N |  | Austria | Chargemaster , Chargesmart |  | IEC61851-1 | NZD | 3399 | 3749 |  |  |  | a) Cable not included b) mentioned as 240 volts c) Separate RCD required d) Inbuilt DC fault sensore e) RFID enabled - NZD 200 |  | https://www.chargemaster.co.nz/collections/keba/products/keba-fast-ev-charging-station-22kw-wallbox
13 | Keba Smart solar 22 kW Wallbox | Keba |  | Mode 3 | 22 | 32 | 3 Phase optional | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price | 4.8 | 495 | 240 | 163 | N | N | Y | Optional Greenphy, Modbus | Y | KeContact | OCPP 1.5 |  | UCP |  | Y | Y | N | N | Y |  |  |  | Optional |  | Optional | Y | Connect to in house accessories for load managament | Austria | Chargemaster , Chargesmart |  | IEC61851-1 | NZD | 3699 | 4049 |  |  |  | a) Cable not included b) mentioned as 240 volts c) Separate RCD required d) Inbuilt DC fault sensor |  | https://www.chargemaster.co.nz/collections/keba/products/keba-smart-solar-ev-charging-station-22kw-wallbox
14 | Keba X-series EV charging station 22 kW Wallbox |  |  | Mode 3 | 22 | 32 | 3 Phase optional | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price | 4.8 | 495 | 240 | 163 |  | Y (Optional) | Y |  | Y | KeContact |  |  |  | RFID | Y | Y |  |  | Y | [5 empty] | Optional | Y | Connect to in house accessories for load managament | Austria | Chargemaster , Chargesmart |  | IEC61851-1 | NZD | 4599 | 4949 |  |  |  | a) Cable not included b) mentioned as 240 volts c) Separate RCD required d) Inbuilt DC fault sensor e) With 3g 4699 |  | https://www.chargemaster.co.nz/collections/keba/products/keba-commercial-fast-ev-charging-station-22kw-smart-3g
15 | EO Basic charger |  |  | Mode 3 | 22 | 32 | 3 Phase optional | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price | 5 | 360 | 165 | 155 | N | N | N | [6 empty] | Key lock optional | Y | [12 empty] | United kingdom | Chargemaster , Chargesmart |  | IEC61851-1 | NZD | 1399 | 1749 |  |  |  | a) Cable not included b) Separate RCD required |  | https://www.evse.com.au/media/wysiwyg/cms/home-ev/EVSE_EO_Basic_Data_Installation_Sheet.pdf https://www.chargesmart.co.nz/product-page/eo-basic-charger-11-22kw
16 | EO mini |  |  | Mode 3 | 7.4 | 32 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price | 1.5 | 175 | 125 | 95 | N | N | N | [20 empty] | United kingdom | Chargemaster , Chargesmart |  | IEC61851-1 | NZD | 999 | 1349
17 | Juicebox 32 typ 2 |  |  | Mode 3 | 22 | 32 | 3 Phase optional | NA |  | Y | AC supply wiring | IP66 | 7 | 9 | 250 | 150 | 90 | Y | N | N |  | Y | Juicenet |  |  |  | Via app | Y | Y | Y | Y | Y | Y | Y | Y | Optional | Optional | Optional | Y |  | USA | Juicepoint NZ |  | IEC61851-1 | NZD | 2065 | 2065 |  |  | 3 years | a) Additional RCD installation required b) Specifically mentions compliance with WS 1.4c |  | https://juicepoint.co.nz/knowledge-base/juicebox-32-full-specifications/
18 | Juicebox 40 T1 |  |  | Mode 3 | 7.4 | 32 | 1 Phase | NA | Y |  | AC supply wiring | IP66 | 7 | 9 | 250 | 150 | 90 | Y | N | N |  | Y | Juicenet |  |  |  | Via app | N | Y | Y | Y | Y | Y | Y | Y | Optional | Optional | Optional | Y |  | USA | Juicepoint NZ |  | IEC61851-1 | NZD | 1461 | 1461 |  |  | 3 years | a) Additional RCD installation required b) Specifically mentions compliance with WS 1.4c |  | https://juicepoint.co.nz/wp-content/uploads/2018/08/JuiceBox-40-T1-NZ-Specifications_2.pdf
19 | Juicebox 40 T2 |  |  | Mode 3 | 7.4 | 32 | 1 Phase | NA |  | Y | AC supply wiring | IP66 | 7 | 9 | 250 | 150 | 90 | Y | N | N |  | Y | Juicenet |  |  |  | Via app | N | Y | Y | Y | Y | Y | Y | Y | Optional | Optional | Optional | Y |  | USA | Juicepoint NZ |  | IEC61851-1 | NZD | 1406 | 1406 |  |  | 3 years | a) Additional RCD installation required b) Specifically mentions compliance with WS 1.4c |  | https://juicepoint.co.nz/products/juicebox-40-t2/
20 | RAY EV Charging cable type 1 | Charge Amps | NA | Mode 1 | 1.8 | 16 | 1 Phase | Caravan | Y | N | Plug type | IP66 | 7.5 | 2 | NA | NA | NA | N | N | N | NA |  | NA | NA | NA | NA | NA | N | Y | N | N | N | N | N | N | N | N | N | N | N | Sweden | BlueCars | NZ plug available | IEC 62752-2016 | NZD | 995 | 995 |  |  | 2 years | The European plug has been removed and replaced with a caravan plug by Charge Amps themselves in order to comply with New Zealand safety regulations. |  | https://bluecars.nz/shop/ray-type1/
21 | RAY EV Charging cable type 2 | Charge Amps | NA | Mode 1 | 3.7 | 16 | 1 Phase | Caravan | N | Y | Plug type | IP66 | 7.5 | 2 | NA | NA | NA | N | N | N | NA |  | NA | NA | NA | NA | NA | N | Y | N | N | N | N | N | N | N | N | N | N | N | Sweden | BlueCars | NZ plug available | IEC 62752-2016 | NZD | 995 | 995 |  |  | 2 years | The European plug has been removed and replaced with a caravan plug by Charge Amps themselves in order to comply with New Zealand safety regulations. |  | https://bluecars.nz/shop/ray-type2/
22 | Type 1 EV Charger 16 Amp hardwired 5M with delayed start function |  | NA | Mode 2 | 3.7 | 16 | 1 Phase | Socket | Y | N | Plug type | IP55 | 5 | NA | NA | NA | NA | N | N | N | NA |  | NA | NA | NA | NA | NA | N | Y | N | N | N | N | Y | N | N | N | N | N | N |  | BlueCars | NZ plug available | IEC 62752-2016 | NZD | 599 | 599 |  |  | 1 year | Delay Start up to 9 hours
23 | Type 1 EV Charger 8 Amp 10M with delayed start function |  | NA | Mode 2 | 1.8 | 8 | 1 Phase | Socket | Y | N | Plug type | IP55 | 10 | NA | NA | NA | NA | N | N | N | NA |  | NA | NA | NA | NA | NA | N | Y | N | N | N | N | Y | N | N | N | N | N | N |  | BlueCars | NZ plug available | IEC 62752-2016 | NZD | 699 | 699 |  |  | 0 year | Delay Start up to 9 hours
24 | Type 1 EV Charger with 6-8 Amp current |  | NA | Mode 2 | 1.8 | `6-8 | 1 Phase | Socket | Y | N | Plug type | IP55 | 5 | NA | NA | NA | NA | N | N | N | NA |  | NA | NA | NA | NA | NA | N | Y | N | N | N | N | N | N | N | N | N | N | N |  | BlueCars | NZ plug available | IEC 62752-2016 | NZD | 599 | 599 |  |  | 1 year
25 | Type 2 EV Charger 8 Amp 5M with delayed start function |  | NA | Mode 2 | 1.8 | 8 | 1 Phase | Socket | N | Y | Plug type | IP55 | 5 | NA | NA | NA | NA | N | N | N | NA |  | NA | NA | NA | NA | NA | N | Y | N | N | N | N | N | N | N | N | N | N | N |  | BlueCars | NZ plug available | IEC 62752-2017 | NZD | 599 | 599 |  |  | 2 year |  |  | https://bluecars.nz/shop/type-1-ev-charger-8-amp-10m-with-delayed-start-function/
26 | Halo Wallbox Type 1- 16A | Charge Amps |  | Mode 3 | 3.68 | 16 | 1 Phase | NA | Y |  | AC supply wiring | IP66 | 5.5 | 3.5 |  |  |  | Y | N |  |  | Y | Charge amps cloud | OCPP 1.6 |  |  |  | Y |  | Y | Y |  |  | Y | Y | Y | Y |  | Y |  | Sweden | BlueCars |  | IEC 61851–1 | NZD | 1295 | 1295 |  |  | 2 year | 1. No app yet, web based cloud interface 2. Back ordered 3. Compact size 4. Extra RCD required |  | https://charge-amps.com/wp-content/uploads/2019/02/HALO_prod_description_ENG.pdf https://bluecars.nz/shop/halo-type1/
27 | Halo Wallbox Type 2- 16A | Charge Amps |  | Mode 3 | 3.68 | H2: 16; H4: 1 Phase; H5: NA; H7: Y; H8: AC supply wiring; H9: IP66; H11: 5.5; H14: 3.5; H18: Y | Y | Charge amps cloud | OCPP 1.6 |  |  |  | Y |  | Y | Y |  |  | Y | Y | Y | Y |  | Y |  | Sweden | BlueCars |  | IEC 61851–1 | NZD | 1295 | 1295 |  |  | 2 year | 1. No app yet, web based cloud interface 2. Back ordered 3. Compact size 4. Extra RCD required
28 | Halo Wallbox Type 1- 32A | Charge Amps |  | Mode 3 | 7.36 | H2: 32; H4: 1 Phase; H5: NA; H6: Y; H8: AC supply wiring; H9: IP66; H11: 5.5; H14: 3.5; H18: Y | Y | Charge amps cloud | OCPP 1.6 |  |  |  | Y |  | Y | Y |  |  | Y | Y | Y | Y |  | Y |  | Sweden | BlueCars |  | IEC 61851–1 | NZD | 1395 | 1395 |  |  | 2 year | 1. No app yet, web based cloud interface 2. Back ordered 3. Compact size 4. Extra RCD required
29 | Halo Wallbox Type 2- 32A | Charge Amps |  | Mode 3 | 7.36 | H2: 32; H4: 1 Phase; H5: NA; H7: Y; H8: AC supply wiring; H9: IP66; H11: 5.5; H14: 3.5; H18: Y | Y | Charge amps cloud | OCPP 1.6 |  |  |  | Y |  | Y | Y |  |  | Y | Y | Y | Y |  | Y |  | Sweden | BlueCars |  | IEC 61851–1 | NZD | 1395 | 1395 |  |  | 2 year | 1. No app yet, web based cloud interface 2. Back ordered 3. Compact size 4. Extra RCD required |  | https://bluecars.nz/shop/halo-type2-16a-three-phase/
30 | Halo Wallbox Type 2- 16A 3p | Charge Amps |  | Mode 3 | 11 | H2: 32; H4: 3 Phase optional; H5: NA; H7: Y; H8: AC supply wiring; H9: IP66; H11: 5.5; H14: 3.5; H18: Y | Y | Charge amps cloud | OCPP 1.6 |  |  |  | Y |  | Y | Y |  |  | Y | Y | Y | Y |  | Y |  | Sweden | BlueCars |  | IEC 61851–1 | NZD | 1495 | 1495 |  |  | 2 year | 1. No app yet, web based cloud interface 2. Back ordered 3. Compact size 4. Extra RCD required |  | https://bluecars.nz/shop/halo-type2-16a-three-phase/
31 | Inch Home touchscreen interactive charge station | Etrel | Etrel | Mode 3 | 22 | 32 | 3 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price | 6.3 | 450 | 270 | 135 | Y |  | Y |  | Y | Etrel Ocean | OCPP 1.6 |  | API, MODBUS | RFID | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | HomeGreenPHY PLC optional | Solvenia | Ecogeek Co |  | IEC 61851–1 | NZD | 2989 | 3339 |  |  | 2 year | 1. Cellphone module supported overseas 2. Touch Screen |  | http://etrel.com/Technical_Specifications_INCH_general_v1.6.pdf?pdf=Product-Brochure https://www.ecogeekco.co.nz/shop/inch-home-interactive-charge-station
32 | Delta AC Mini Electric Vehicle Charge Point | Delta Electronics |  | Mode 3 | 7.4 | 32 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP55 | Not incl in price |  | 380 | 313.6 | 140 | [9 empty] | RFID (2 cards supplied) | Y | [12 empty] | Taiwan | YHI , Ecogeek Co |  | IEC 60364-5-53 (Isolation) | NZD | 1399 | 1749 |  |  | 2 year |  |  | https://www.deltaww.com/Products/CategoryListT1.aspx?CID=0807&PID=3905&hl=en-US&Name=AC+Mini https://www.ecogeekco.co.nz/shop/x9pb8ezgsh2x4007stuupx7pvdf56i-h4sgk
33 | Delta Mini AC Electric Vehicle Charge Point - wifi | Delta Electronics |  | Mode 2 | 7.4 | 32 | 0 Phase | Type 1 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price |  | 380 | 313.6 | 140 | Y |  | Y (Optional) |  | Y |  | OCPP 1.5 |  |  | RFID (2 cards supplied) | Y | [12 empty] | Taiwan | YHI , Ecogeek Co |  | IEC 60364-5-53 (Isolation) | NZD | 2563 | 2913 |  |  | 2 years | 1. Phone app
34 | Delta Mini AC Electric Vehicle Charge Point - Networked 3G (Plus) | Delta Electronics |  | Mode 3 | 7.4 | 32 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP55 | Not incl in price |  | 380 | 313.6 | 140 |  | Y | Y (Optional) |  | Y |  | OCPP 1.6 |  |  | RFID (2 cards supplied) | Y | [12 empty] | Taiwan | YHI , Ecogeek Co |  | IEC 60364-5-53 (Isolation) | NZD | 2564 | 2914 |  |  | 2 year | 1. Network connectivity for comms for payement etc no phone app |  | https://www.ecogeekco.co.nz/shop/x9pb8ezgsh2x4007stuupx7pvdf56i
35 | Evlink Wallbox EVH2S11P04K | Schneider Electric |  | Mode 3 | 11 | 16 | 3 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price | 5.6 | 480 | 331.5 | 170 | N | N | N | [7 empty] | Y | [5 empty] | Y | [6 empty] | France | Schneider Electric |  | IEC 61851-1 | NZD | 1600 | 1950 |  |  | 1.5 years | 1. Tethered options available 2. Without shutter options available 3. Built in DC filter |  | https://www.se.com/nz/en/product/EVH2S11P04K/evlink-wallbox---11-kw---t2-socket-outlet-with-shutter---charging-station/?range=62395-evlink-wallbox&node=12144315194-charging-station&filter=business-5-residential-and-small-business&parent-category-id=1800&parent-subcategory-id=80408
36 | Evlink Wallbox EVH2S22P04K | Schneider Electric |  | Mode 3 | 22 | 32 | 3 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price | 5.6 | 480 | 331.5 | 170 | N | N | N | [7 empty] | Y | [5 empty] | Y | [6 empty] | France | Schneider Electric |  | IEC 61851-1 | NZD | 1900 | 2250 |  |  | 1.5 years | 1. Tethered options available 2. Without shutter options available 3. Built in DC filter
37 | Evlink Wallbox EVH2S3P02K | Schneider Electric |  | Mode 3 | 3.7 | 16 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price | 5.6 | 480 | 331.5 | 170 | N | N | N | [7 empty] | Y | [5 empty] | Y | [6 empty] | France | Schneider Electric |  | IEC 61851-1 | NZD | 1100 | 1450 |  |  | 1.5 years | 1. Tethered options available 2. Without shutter options available
38 | Evlink Wallbox EVH2S11P04K | Schneider Electric |  | Mode 3 | 7.4 | 32 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price | 5.6 | 480 | 331.5 | 170 | N | N | N | [7 empty] | Y | [5 empty] | Y | [6 empty] | France | Schneider Electric |  | IEC 61851-1 | NZD | 1300 | 1650 |  |  | 1.5 years | 1. Tethered options available 2. Without shutter options available
39 | EVlink Smart Wallbox EVB1A22P4EKI | Schneider Electric |  | Mode 3 | 22 | ~10/32 | 3 Phase optional | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price | 6.2 | 480 | 331.5 | 170 |  |  | Y | Modbus | Y |  | OCPP 1.5 |  |  | Key, RFID (option) | Y |  |  |  | Y | Y | Y | [6 empty] | France | Schneider Electric |  | IEC 61851-1 | NZD | 2500 | 2850 |  |  | 1.5 years | 1. Additional remote control
40 | EVlink Smart Wallbox EVB1A22P4RI | Schneider Electric |  | Mode 3 | 22 | 32 | 3 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | Not incl in price | 6.2 | 480 | 331.5 | 170 |  |  | Y | Modbus | Y |  | OCPP 1.5 |  |  | Key, RFID (option) | Y |  |  |  | Y | Y | Y | [6 empty] | France | Schneider Electric |  | IEC 61851-1 | NZD | 2700 | 3050 |  |  | 1.5 years | 1. Additional remote control
41 | Rolec EV Wallpod 3.6 | Rolec |  | Mode 3 | 3.6 | 16 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP65 | Not incl in price | 2.5 | 367 | 179 | 142 | N | N | N | N | [5 empty] | Key | Y | [13 empty] | YHI |  | IEC 61851-1 | NZD | 1300 | 1650 |  |  |  | 1. Tehered options available 2. Overseas "smart models" |  | http://www.rolecserv.com/catalogue/downloading/13576287475ceddaa99f3346_59085252 https://irp-cdn.multiscreensite.com/782edc43/files/uploaded/Neuton-Power-EV-WallPod-Charger-data-sheet%281%29.pdf
42 | Rolec EV Wallpod 7.2 | Rolec |  | Mode 3 | 7.2 | 32 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP65 | Not incl in price | 2.5 | 367 | 179 | 142 | N | N | N | N | [5 empty] | Key | Y | [13 empty] | YHI , plugndrive NZ |  | IEC 61851-1 | NZD | 1500 | 1850 |  |  |  | 1. Tehered options available 2. Overseas "smart models"
43 | Rolec EV Wallpod 22 | Rolec |  | Mode 3 | 22 | 32 | 3 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP65 | Not incl in price | 2.5 | 367 | 179 | 142 | N | N | N | N | [5 empty] | Key | Y | [13 empty] | YHI |  | IEC 61851-1 | NZD | 2000 | 2350 |  |  |  | 1. Tehered options available 2. Overseas "smart models"
44 | Amtron Start E 3,7 C1 | Amtron |  | Mode 3 | 3.7 | 16 | 1 Phase | NA | Y |  | AC supply wiring |  | 7.5 |  | 479 | 259 | 220 | N | N | N | N |  |  | NA | NA | NA |  | Y | [13 empty] | Echarge |  | IEC 61851-1 | NZD | 1600 | 1950
45 | Amtron Start E 3,7 C2 | Amtron |  | Mode 3 | 3.7 | 16 | 1 Phase | NA |  | Y | AC supply wiring |  | 7.5 |  | 479 | 259 | 220 | N | N | N | N |  |  | NA | NA | NA |  | Y | [13 empty] | Echarge |  | IEC 61851-1 | NZD | 1600 | 1950
46 | Amtron Start E 11 T2 | Amtron |  | Mode 3 | 11 | 16 | 3 Phase optional | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring |  | Not incl in price |  | 479 | 259 | 220 | N | N | N | N |  |  | NA | NA | NA |  | Y | [13 empty] | Echarge |  | IEC 61851-1 | NZD | 1800 | 2150
47 | Amtron Standard E 11/22 T2 | Amtron |  | Mode 3 | ~11 / 22 | 16/32 | 3 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring |  | Not incl in price |  | 479 | 259 | 220 | N | N | N | N |  |  | NA | NA | NA | Key | Y | [13 empty] | Echarge |  | IEC 61851-1 | NZD | 2200 | 2550
48 | Amtron Premium E 22 C2 | Amtron |  | Mode 3 | 22 | 32 | 3 Phase | NA | N | Y | AC supply wiring |  | 7.5 |  | 479 | 259 | 220 | Y | N | Y | N | Y |  | OCPP 1.6 | NA | NA | RFID | Y | N | Y | N | Y | Y | N | Y | Y | Y | Y |  |  |  | Echarge |  | IEC 61851-1 | NZD | 2600 | 2950
49 | Amtron E 11/22 | Amtron |  | Mode 3 | ~11 / 22 | 16/32 | 3 Phase | NA | Y (Optional) | Y (Optional) | AC supply wiring |  | Not incl in price |  | 479 | 259 | 220 | Y | N | Y | N | Y |  | OCPP 1.6 | NA | NA | RFID | Y | N | Y | N | Y | Y | N | Y | Y | Y | Y |  |  |  | Echarge |  | IEC 61851-1 | NZD | 2200 | 2550
50 | Goodmeasure EV0100 7 | Embrium |  | Mode 3 | 7.4 | 32 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP65 | Not incl in price | 2.52 | 367 | 179 | 142 | Y | N | Y (Optional) |  | Y | Goodmeasure | OCPP 1.6 |  |  |  | Y | N |  | Y | Y | Y | Y | Y | Optional | Optional | Optional | Optional |  |  | Embrium |  | IEC 61851-1 | NZD | 1200 | 1550
51 | GoodMeasure EV0201 Split System | Embrium |  | Mode 3 | 7.4 | 32 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP65 | Not incl in price |  |  |  |  | Y | N | N |  | Y | Goodmeasure |  |  |  |  | Y | N | Y | Y | Y | Y | Y | Y | Optional | Optional | Optional | Optional |  |  | Embrium |  | IEC 61851-1 | NZD | 1500 | 1850 |  |  |  | Built in RCD type b
52 | Transnet e-mbility t2 | 3rd party in China | NA | Mode 2 | 2.2 | 8 | 1 Phase | NA | N | Y | Plug type | IP 66 | 6.5 | NA | NA | NA | NA | N | N | N | N |  | NA | NA | NA | NA | NA | Y | Y | N | N | N | N | N | N | N | N | N | N | N | China | Transnet | NZ plug available | IEC 62752-2016 | NZD | 747.5 | 747.5 |  |  | 2 years |  |  | https://www.transnet.co.nz/shop/EV+Charging/Portable+Chargers/EV+Portable+Chargers.html
53 | Transnet e-mbility t1 | 3rd party in China | NA | Mode 2 | 2.2 | 8 | 1 Phase | NA | Y | N | Plug type | IP 66 | 6.5 | NA | NA | NA | NA | N | N | N | N |  | NA | NA | NA | NA | NA | Y | Y | N | N | N | N | N | N | N | N | N | N | N | China | Transnet | NZ plug available | IEC 62752-2016 | NZD | 488.75 | 488.75 |  |  | 2 years
54 | Circontrol e-home charger EVC-EHOME-16T1 | Transnet |  | Mode 3 | 3.7 | 16 | 1 Phase | Type 2 | Y | N | AC supply wiring | IP54 | 5 | 4 | 315 | 180 | 115 |  |  |  | PLC | [6 empty] | Y | [6 empty] | Optional | Optional | [5 empty] | Transnet |  | IEC 61851-1 | NZD | 1328.25 | 1328.25 |  |  |  | 1. Home load control with BeON accessory 2. Bundeld price for Beon senor and tybe b rcb - 1770+GST |  | https://www.transnet.co.nz/shop/EV+Charging/Circontrol+e-home+Charger/Circontrol+e-home+Charger.html
55 | Circontrol e-home charger EVC-EHOME-32T1 | Transnet |  | Mode 3 | 7.4 | 32 | 1 Phase | Type 2 | Y | N | AC supply wiring | IP54 | 5 | 4 | 315 | 180 | 115 |  |  |  | PLC | [6 empty] | Y | [6 empty] | Optional | Optional | [5 empty] | Transnet |  | IEC 61851-1 | NZD | 1495 | 1495 |  |  |  | 1. Home load control with BeON accessory 2. Bundeld price for Beon senor and tybe b rcb - 1950+GST
56 | Circontrol e-home charger EVC-EHOME-16T2 | Transnet |  | Mode 3 | 3.7 | 16 | 1 Phase | No socket | N | Y | AC supply wiring | IP54 | 5 | 4 | 315 | 180 | 115 |  |  |  | PLC | [6 empty] | Y | [6 empty] | Optional | Optional | [5 empty] | Transnet |  | IEC 61851-1 | NZD | 1328.25 | 1328.25 |  |  |  | 1. Home load control with BeON accessory 2. Bundeld price for Beon senor and tybe b rcb - 1770+GST
57 | Circontrol e-home charger EVC-EHOME-32T2 | Transnet |  | Mode 3 | 7.4 | 32 | 1 Phase | No socket | N | Y | AC supply wiring | IP54 | 5 | 4 | 315 | 180 | 115 |  |  |  | PLC | [6 empty] | Y | [6 empty] | Optional | Optional | [5 empty] | Transnet |  | IEC 61851-1 | NZD | 1495 | 1495 |  |  |  | 1. Home load control with BeON accessory 2. Bundeld price for Beon senor and tybe b rcb - 1950+GST
58 | Wallbox Pulsar T1 | Transnet |  | Mode 3 | 7.4 | 32 | 1 Phase | Type 2 | Y | N | AC supply wiring | IP54 | 5 | 1.9 | 163 | 166 | 90 | N | N | N | Bluetooth | [5 empty] | AUI | Y |  | Y | Y | [10 empty] | Transnet |  | IEC 61851-1 | NZD | 1950 | 1950
59 | Wallbox Pulsar T2 | Transnet |  | Mode 3 | 7.4 | 32 | 1 Phase | Type 2 | N | Y | AC supply wiring | IP54 | 5 | 1.9 | 163 | 166 | 90 | N | N | N | Bluetooth | [5 empty] | AUI | Y |  | Y | Y | [10 empty] | Transnet |  | IEC 61851-1 | NZD | 1950 | 1950
60 | Zappi T1 | Myenergi |  | Mode 3 | 7.4 | 32 | 1 Phase | No socket | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | 5 |  | 362 | 220 | 78 | N | N | N | [7 empty] | Y | Y |  |  | Y | [9 empty] | Plugndrive NZ |  | IEC 61851-1 | NZD | 1200 | 1200 |  |  |  | 1. Economy charging available ? Only available by Mid 2019
61 | Zappi T2 | Myenergi |  | Mode 3 | 7.4 | 32 | 1 Phase | No socket | Y (Optional) | Y (Optional) | AC supply wiring | IP54 | 5 |  | 362 | 220 | 78 | N | N | N | [7 empty] | Y | Y |  |  | Y | [9 empty] | Plugndrive NZ |  | IEC 61851-1 | NZD | 1200 | 1200 |  |  |  | 1. Economy charging available ? Only available by Mid 2020
62 | EVnex R Series Intelligenct charging station 7 | EvNex |  | Mode 3 | 7 | 32 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 |  |  | 373 | 212 | 142 | N | Y | Y | Bluetooth | Y |  | OCPP 1.6 |  |  | RFID | Y | N | Y | Y | Y |  |  | Y | Optional | Optional | Optional | Optional |  |  | Evnex |  | IEC 61851-1:2017, IEC 61851-21-2:2014 | NZD | 1000 | 1380 |  |  |  | 1. Newly introduced 2. (Always connected to cellular network)
63 | EVnex R Series Intelligenct charging station 7, Type 2 lead or Type 2 lead | EvNex |  | Mode 4 | 7 | 32 | 2 Phase | No socket | Y (Optional) | Y (Optional) | AC supply wiring | IP55 |  |  | 373 | 212 | 142 | N | Y | Y | Bluetooth | Y |  | OCPP 1.7 |  |  | RFID | Y | N | Y | Y | Y |  |  | Y | Optional | Optional | Optional | Optional |  |  | Evnex |  | IEC 61851-1:2017, IEC 61851-21-2:2015 | NZD | 1000 | 1380 |  |  |  | 1. Newly introduced 2. (Always connected to cellular network)
64 | EVnex R Series Intelligenct charging station 22 | EvNex |  | Mode 3 | 22 | 32 | 1 Phase | Type 2 | Y (Optional) | Y (Optional) | AC supply wiring | IP54 |  |  | 373 | 212 | 142 | N | Y | Y | Bluetooth | Y |  | OCPP 1.6 |  |  | RFID | Y | N | Y | Y | Y |  |  | Y | Optional | Optional | Optional | Optional |  |  | Evnex |  | IEC 61851-1:2017, IEC 61851-21-2:2017 | NZD | 1840 | 1840 |  |  |  | 1. Newly introduced 2. (Always connected to cellular network)
65 | EVnex R Series Intelligenct charging station 22 Type 2 Lead | EvNex |  | Mode 3 | 22 | 32 | 1 Phase | No socket | Y (Optional) | Y (Optional) | AC supply wiring | IP54 |  |  | 373 | 212 | 142 | N | Y | Y | Bluetooth | Y |  | OCPP 1.6 |  |  | RFID | Y | N | Y | Y | Y |  |  | Y | Optional | Optional | Optional | Optional |  |  | Evnex |  | IEC 61851-1:2017, IEC 61851-21-2:2018 | NZD | 1840 | 1840 |  |  |  | 1. Newly introduced 2. (Always connected to cellular network)
Note | Prices and data as provided in the responses to the questionnaire or as available on respective websites. Please note that the prices are subject to change and some have changed during the duration of the research. Prices are quoted inclusive of charger and charging lead (i.e. price of charging lead added in cases where the charger does not come with the cable).
Note on M8: Basu, Satrajit: Mentions both IP 65 and 66
Note on M9: Basu, Satrajit: Mentions both IP 65 and 66

## Lookup tables data (hidden)
HARDWARE | SOFTWARE | FEATURES | GENERAL
Mode | Application messaging protocals | Features | Current NZ Availability
Mode 1 / 2 / 3 | OCPP
Mode 1 | OCPP 1.2 | Y | Y
Mode 2 | OCPP 1.5 | N | N
Mode 3 | OCPP 1.6 | Optional
| OCPP 2.0 |  | NZ compliance
Phase | NA
1 phase / 3 phase |  |  | Mentioned
1 Phase |  |  | Not mentioned
3 Phase |  |  | TBC
3 Phase optional
Charger inlet type
Type 1 / 2
Type 1
Type 2
No socket
Caravan
Charger outlet type
Type 1 / 2
Y
Y (Optional)
N
Application type
Socket - outlet / AC Supply wiring
Plug type
AC supply wiring
Network communication interfaces
Wifi, GSM etc
Y
N
Y (Optional)
Mounting location
Indoor
Outdoor
Portable